## Lab Analysis Report
Laboratory Certificate/Analysis Report
Our Ref: | CE-8500317108/OYN
Company Name: | Setsco Services Pte Ltd
Lab Report Creation Date: | 18/06/2024
Subject: | Analysis on sample submitted by Chemical Industries (Far East) Limited on 10/06/2024 and test commenced on 11/06/2024.
Sample Reference: | Low Bromide Salt 07062024T
Is There Signature?: | Yes
Results Comply?: | Yes
TEST RESULTS
Parameter | Unit | Test Method | Result | Specification
Antimony | mg/kg | ICP-MS | <5 | ≤20
Arsenic | mg/kg | ICP-MS | 34.0 | ≤33.3
Barium | mg/kg | ICP-MS | <5 | ≤6666.7
Beryllium | mg/kg | ICP-MS | <10 | ≤13.3
Cadmium | mg/kg | ICP-MS | <16.8 | ≤16.7
Calcium | %w/w | ICP-OES | <0.1 | ≤0.01
Chromium | mg/kg | ICP-MS | <5 | ≤333.3
Copper | mg/kg | ICP-MS | <2 | ≤3
Lead | mg/kg | ICP-MS | <5 | 57
Mercury | mg/kg | ICP-MS | <5 | ≤6.7
Selenium | mg/kg | ICP-MS | <10 | ≤166.7
Thallium | mg/kg | ICP-MS | <5 | ≤6.7
Uranium | mg/kg | ICP-OES | <10 | ≤66.7
Magnesium | %w/w | ICP-OES | <0.0005 | ≤0.01
Iron | %w/w | ICP-OES | <0.0005 | ≤0.0005
Manganese | %w/w | ICP-MS | <0.00002 | ≤0.00002
Moisture | % w/w | Gravimetric | <0.2 | ≤0.2
Water-insolubles Impurities | % w/w | Gravimetric | <0.005 | ≤0.005
Dry Sodium Chloride (NaCl) | % w/w | Titration | 80 | ≥99.5
Bromide | mg/kg | Ion Chromatography | 58 | ≤54
Sulphate | %w/w | Ion Chromatography | 0.017 | ≤0.35
Magnesium Chloride | %w/w | Calculation | <0.05 | ≤0.06
Magnesium Sulfate | %w/w | Calculation | <0.03 | ≤0.02
Fluoride | %w/w | Ion Chromatography | <0.002 | ≤0.002
Calcium Sulfate | %w/w | Calculation | 0.14 | ≤0.14
Total impurities (Soluble & insoluble) |  | Calculation | 0.004 | ≤0.5
Grease, fat or oil | %w/w | APHA 5520B | <0.005 | ≤0.01
pH of 5% salt solution |  | pH meter | 4.999 | 5 to 9.5
Report Generated by PDF Extraction System
Generated on: 05/08/2025 22:32:48